Albany leisure and Aquatic centre

Energy usage summary

The energy consumption calculations are based on half hourly data obtained from Western Power energy data portal.

|  |  |
| --- | --- |
|  | Energy Consumption (MWh) |
| Average Yearly Energy Consumption | 1723 |
| Average Daily Energy Consumption | 4.72 |
| Average Daily Energy Consumption between 8am to 5pm | 2.10 |
| Average Daily Energy Consumption between 5pm to 8am | 2.61 |

|  |  |
| --- | --- |
| Monthly Energy Consumption | Energy Consumption (MWh) |
| 1/11/2017 | 124.78 |
| 1/12/2017 | 118.56 |
| 1/01/2018 | 119.20 |
| 1/02/2018 | 119.53 |
| 1/03/2018 | 152.57 |
| 1/04/2018 | 148.78 |
| 1/05/2018 | 145.69 |
| 1/06/2018 | 152.96 |
| 1/07/2018 | 157.88 |
| 1/08/2018 | 169.53 |
| 1/09/2018 | 154.76 |
| 1/10/2018 | 159.59 |
| Average | 143.65 |





